## Sheet1
Year | Base Case | Base Case | Cumulative GW | Annual MW | Annual GW |  | Low-RE-Cost-HighElectrification | Low-RE-Cost-HighElectrification | Low-RE-Cost-HighElectrification | Annual MW | Annual GW |  | Current Baseline |  | IRENA 2016
Year | Rooftop PV_GW | Utility PV_GW | EF, Reference Scenario | Reference | EF, Reference Scenario |  | Rooftop PV_GW | Utility PV_GW | EF, High Electrification Scenario |  | EF, High Electrification Scenario |  | Current Baseline Installs MW | Current Baseline Installs GW | IRENA 2016, global | CSA 2020
2018 | 16.2587 | 41.0767 | 57.3354 | 57335.4025 | 6.8033 | 6803.2973 | 16.7956 | 37.1287 | 53.9243 | 53924.2729 | 14.8613 | 14861.3076 | 7762.0726 | 7.7621
2019 |  |  | 64.1387 | 64138.6998 | 6.8033 | 6803.2973 |  |  | 68.7856 | 68785.5805 | 14.8613 | 14861.3076 | 13385.8953 | 13.3859
2020 | 19.6735 | 51.2685 | 70.942 | 70941.9971 | 13.6248 | 13624.79 | 20.9084 | 62.7384 | 83.6469 | 83646.888 | 20.8812 | 20881.1616 | 14903.79 | 14.9038 | 511
2021 |  |  | 84.5668 | 84566.787 | 13.6248 | 13624.79 |  |  | 104.528 | 104528.0496 | 20.8812 | 20881.1616 | 16455.56 | 16.4556
2022 | 23.1766 | 75.015 | 98.1916 | 98191.577 | 8.7873 | 8787.3245 | 25.7927 | 99.6165 | 125.4092 | 125409.2112 | 20.1295 | 20129.5299 | 15227.23 | 15.2272
2023 |  |  | 106.9789 | 106978.9015 | 8.7873 | 8787.3245 |  |  | 145.5387 | 145538.7411 | 20.1295 | 20129.5299 | 15224.02 | 15.224
2024 | 26.2911 | 89.4751 | 115.7662 | 115766.2259 | 7.6401 | 7640.0836 | 30.9351 | 134.7331 | 165.6683 | 165668.271 | 16.8396 | 16839.6021 | 16634.43 | 16.6344
2025 |  |  | 123.4063 | 123406.3095 | 7.6401 | 7640.0836 |  |  | 182.5079 | 182507.8731 | 16.8396 | 16839.6021 | 18114.8943 | 18.1149 | 954
2026 | 30.0894 | 100.957 | 131.0464 | 131046.3931 | 14.5218 | 14521.8102 | 37.5263 | 161.8211 | 199.3475 | 199347.4752 | 26.9299 | 26929.9478 | 19727.1199 | 19.7271
2027 |  |  | 145.5682 | 145568.2033 | 14.5218 | 14521.8102 |  |  | 226.2774 | 226277.423 | 26.9299 | 26929.9478 | 21482.8335 | 21.4828
2028 | 34.8543 | 125.2357 | 160.09 | 160090.0136 | 20.3251 | 20325.0547 | 45.875 | 207.3324 | 253.2074 | 253207.3708 | 46.715 | 46714.9613 | 23394.8057 | 23.3948
2029 |  |  | 180.4151 | 180415.0682 | 20.3251 | 20325.0547 |  |  | 299.9223 | 299922.3321 | 46.715 | 46714.9613 | 25476.9434 | 25.4769
2030 | 40.5432 | 160.197 | 200.7401 | 200740.1229 | 22.2014 | 22201.3923 | 56.1317 | 290.5056 | 346.6373 | 346637.2933 | 62.0933 | 62093.3498 | 27744.3914 | 27.7444 | 1632 | 437
2031 |  |  | 222.9415 | 222941.5152 | 22.2014 | 22201.3923 |  |  | 408.7306 | 408730.6432 | 62.0933 | 62093.3498 | 30213.6422 | 30.2136
2032 | 46.1889 | 198.954 | 245.1429 | 245142.9076 | 15.0252 | 15025.2326 | 67.4925 | 403.3315 | 470.824 | 470823.993 | 47.4086 | 47408.6324 | 32902.6564 | 32.9027
2033 |  |  | 260.1681 | 260168.1402 | 15.0252 | 15025.2326 |  |  | 518.2326 | 518232.6255 | 47.4086 | 47408.6324 | 35830.9928 | 35.831
2034 | 51.7662 | 223.4272 | 275.1934 | 275193.3728 | 9.5053 | 9505.2959 | 80.4804 | 485.1609 | 565.6413 | 565641.2579 | 27.1232 | 27123.1683 | 39019.9512 | 39.02
2035 |  |  | 284.6987 | 284698.6686 | 9.5053 | 9505.2959 |  |  | 592.7644 | 592764.4262 | 27.1232 | 27123.1683 | 42492.7268 | 42.4927 | 2225
2036 | 57.3595 | 236.8445 | 294.204 | 294203.9645 | 9.2164 | 9216.3513 | 95.3222 | 524.5654 | 619.8876 | 619887.5945 | 36.8363 | 36836.2998 | 46274.5795 | 46.2746
2037 |  |  | 303.4203 | 303420.3158 | 9.2164 | 9216.3513 |  |  | 656.7239 | 656723.8943 | 36.8363 | 36836.2998 | 50393.0171 | 50.393
2038 | 63.6797 | 248.957 | 312.6367 | 312636.667 | 23.385 | 23384.959 | 111.4442 | 582.116 | 693.5602 | 693560.1941 | 13.9616 | 13961.5873 | 54877.9956 | 54.878
2039 |  |  | 336.0216 | 336021.626 | 23.385 | 23384.959 |  |  | 707.5218 | 707521.7814 | 13.9616 | 13961.5873 | 59762.1372 | 59.7621
2040 | 69.764 | 289.6426 | 359.4066 | 359406.5849 | 9.3529 | 9352.9414 | 127.6043 | 593.8791 | 721.4834 | 721483.3687 | 28.5229 | 28522.8801 | 65080.9674 | 65.081 | 2895
2041 |  |  | 368.7595 | 368759.5263 | 9.3529 | 9352.9414 |  |  | 750.0062 | 750006.2488 | 28.5229 | 28522.8801 | 70873.1735 | 70.8732
2042 | 74.5265 | 303.5859 | 378.1125 | 378112.4676 | 18.4011 | 18401.1402 | 139.2369 | 639.2922 | 778.5291 | 778529.1289 | 26.2715 | 26271.4751 | 77180.8859 | 77.1809
2043 |  |  | 396.5136 | 396513.6079 | 18.4011 | 18401.1402 |  |  | 804.8006 | 804800.6039 | 26.2715 | 26271.4751 | 84049.9848 | 84.05
2044 | 78.8132 | 336.1015 | 414.9147 | 414914.7481 | 14.9726 | 14972.5516 | 148.0888 | 682.9833 | 831.0721 | 831072.079 | 32.834 | 32833.9923 | 91530.4334 | 91.5304
2045 |  |  | 429.8873 | 429887.2997 | 14.9726 | 14972.5516 |  |  | 863.9061 | 863906.0713 | 32.834 | 32833.9923 | 99676.642 | 99.6766 | 3654
2046 | 82.8628 | 361.9971 | 444.8599 | 444859.8514 | 20.3838 | 20383.8398 | 155.3321 | 741.4079 | 896.7401 | 896740.0636 | 43.9581 | 43958.0505 | 108547.8631 | 108.5479
2047 |  |  | 465.2437 | 465243.6912 | 20.3838 | 20383.8398 |  |  | 940.6981 | 940698.114 | 43.9581 | 43958.0505 | 118208.623 | 118.2086
2048 | 86.4883 | 399.1392 | 485.6275 | 485627.531 | 28.5697 | 28569.7127 | 161.522 | 823.1341 | 984.6562 | 984656.1645 | 45.1543 | 45154.2809 | 128729.1904 | 128.7292
2049 |  |  | 514.1972 | 514197.2437 | 28.5697 | 28569.7127 |  |  | 1029.8104 | 1029810.4454 | 45.1543 | 45154.2809 | 140186.0884 | 140.1861
2050 | 89.7893 | 452.9777 | 542.767 | 542766.9563 |  |  | 167.2119 | 907.7528 | 1074.9647 | 1074964.7264 |  |  | 152662.6502 | 152.6627 | 4512
tion S

## Sheet2
| Cambium Download | [7 empty] | Paper Digitized current PV ICE RUN
| Reference | Reference |  |  | Low RE High E | Low RE High E |  |  | Reference | Low RE High E | DIFFERENCE | DIFFERENCE
Year | Rooftop PV_GW | Utility PV_GW | All PV |  | Rooftop PV_GW | Utility PV_GW | All PV |  | All PV MW | All PV MW
2018 | 16.2587 | 41.0767 | 57335.4025 | 57335.4025 | 16.7956 | 37.1287 | 53924.2729 | 53924.2729 | 7762.0726 | 7762.0726 | 49573.3299 | 46162.2003
|  |  |  | 64138.6998 |  |  |  | 68785.5805 | 13385.8953 | 13385.8953 | 50752.8044 | 55399.6851
2020 | 19.6735 | 51.2685 | 70941.9971 | 70941.9971 | 20.9084 | 62.7384 | 83646.888 | 83646.888 | 70941.9971 | 83646.888 | 2.3962e-06 | 2.5229e-06
|  |  |  | 84566.787 |  |  |  | 104528.0496 | 84566.787 | 104528.0496 | -2.8967e-06 | 1.0879e-05
2022 | 23.1766 | 75.015 | 98191.577 | 98191.577 | 25.7927 | 99.6165 | 125409.2112 | 125409.2112 | 98191.577 | 125409.2112 | 1.8105e-06 | 9.2343e-06
|  |  |  | 106978.9015 |  |  |  | 145538.7411 | 106978.9015 | 145538.7411 | -4.1696e-05 | 2.2761e-05
2024 | 26.2911 | 89.4751 | 115766.2259 | 115766.2259 | 30.9351 | 134.7331 | 165668.271 | 165668.271 | 115766.2259 | 165668.271 | 2.4797e-05 | 3.6289e-05
|  |  |  | 123406.3095 |  |  |  | 182507.8731 | 123406.3095 | 182507.8731 | 2.2444e-05 | 1.2771e-05
2026 | 30.0894 | 100.957 | 131046.3931 | 131046.3931 | 37.5263 | 161.8211 | 199347.4752 | 199347.4752 | 131046.3931 | 199347.4752 | 2.0091e-05 | -1.0747e-05
|  |  |  | 145568.2033 |  |  |  | 226277.423 | 145568.2033 | 226277.423 | 3.9397e-05 | -6.4521e-06
2028 | 34.8543 | 125.2357 | 160090.0136 | 160090.0136 | 45.875 | 207.3324 | 253207.3708 | 253207.3708 | 160090.0136 | 253207.3708 | -4.1298e-05 | -2.1571e-06
|  |  |  | 180415.0682 |  |  |  | 299922.3321 | 180415.0682 | 299922.3321 | 3.8139e-05 | -4.1195e-05
2030 | 40.5432 | 160.197 | 200740.1229 | 200740.1229 | 56.1317 | 290.5056 | 346637.2933 | 346637.2933 | 200740.1229 | 346637.2933 | 1.7575e-05 | 1.9768e-05
|  |  |  | 222941.5152 |  |  |  | 408730.6432 | 222941.5152 | 408730.6432 | 3.9207e-05 | -3.6306e-05
2032 | 46.1889 | 198.954 | 245142.9076 | 245142.9076 | 67.4925 | 403.3315 | 470823.993 | 470823.993 | 245142.9076 | 470823.993 | -3.9162e-05 | 7.6204e-06
|  |  |  | 260168.1402 |  |  |  | 518232.6255 | 260168.1402 | 518232.6255 | -3.4304e-05 | -4.5357e-05
2034 | 51.7662 | 223.4272 | 275193.3728 | 275193.3728 | 80.4804 | 485.1609 | 565641.2579 | 565641.2579 | 275193.3728 | 565641.2579 | -2.9446e-05 | 1.6665e-06
|  |  |  | 284698.6686 |  |  |  | 592764.4262 | 284698.6686 | 592764.4262 | 3.3089e-05 | 1.1944e-05
2036 | 57.3595 | 236.8445 | 294203.9645 | 294203.9645 | 95.3222 | 524.5654 | 619887.5945 | 619887.5945 | 294203.9645 | 619887.5945 | -4.3754e-06 | 2.2221e-05
|  |  |  | 303420.3158 |  |  |  | 656723.8943 | 303420.3158 | 656723.8943 | -4.6914e-05 | -7.2954e-06
2038 | 63.6797 | 248.957 | 312636.667 | 312636.667 | 111.4442 | 582.116 | 693560.1941 | 693560.1941 | 312636.667 | 693560.1941 | 1.0548e-05 | -3.6811e-05
|  |  |  | 336021.626 |  |  |  | 707521.7814 | 336021.626 | 707521.7814 | -3.5641e-05 | -5.8294e-06
2040 | 69.764 | 289.6426 | 359406.5849 | 359406.5849 | 127.6043 | 593.8791 | 721483.3687 | 721483.3687 | 359406.5849 | 721483.3687 | 1.8169e-05 | 2.5152e-05
|  |  |  | 368759.5263 |  |  |  | 750006.2488 | 368759.5263 | 750006.2488 | -2.103e-05 | -1.181e-05
2042 | 74.5265 | 303.5859 | 378112.4676 | 378112.4676 | 139.2369 | 639.2922 | 778529.1289 | 778529.1289 | 378112.4676 | 778529.1289 | 3.9772e-05 | -4.8772e-05
|  |  |  | 396513.6079 |  |  |  | 804800.6039 | 396513.6079 | 804800.6039 | -2.1491e-05 | 1.6924e-05
2044 | 78.8132 | 336.1015 | 414914.7481 | 414914.7481 | 148.0888 | 682.9833 | 831072.079 | 831072.079 | 414914.7481 | 831072.079 | 1.7247e-05 | -1.7379e-05
|  |  |  | 429887.2997 |  |  |  | 863906.0713 | 429887.2997 | 863906.0713 | 3.6907e-05 | -3.0638e-05
2046 | 82.8628 | 361.9971 | 444859.8514 | 444859.8514 | 155.3321 | 741.4079 | 896740.0636 | 896740.0636 | 444859.8514 | 896740.0636 | -4.3432e-05 | -4.3897e-05
|  |  |  | 465243.6912 |  |  |  | 940698.114 | 465243.6912 | 940698.114 | -2.5931e-05 | 8.5131e-06
2048 | 86.4883 | 399.1392 | 485627.531 | 485627.531 | 161.522 | 823.1341 | 984656.1645 | 984656.1645 | 485627.531 | 984656.1645 | -8.4295e-06 | -3.9077e-05
|  |  |  | 514197.2437 |  |  |  | 1029810.4454 | 514197.2437 | 1029810.445 | -4.7598e-05 | 0.00040796
2050 | 89.7893 | 452.9777 | 542766.9563 | 542766.9563 | 167.2119 | 907.7528 | 1074964.7264 | 1074964.7264 | 542766.9563 | 1074964.726 | 1.3234e-05 | 0.00035501